Property this checklist relates to

| Property street address | Unit no | Level | Street no | Lot no | Street name |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Suburb |  |  |  | State | Postcode |
| Description of the works |  |  |  |  |  |  |

Building surveying practitioner validation

| Number of storeys |  | Building total floor area |  |
| --- | --- | --- | --- |
| Type of construction |  | Approved form used | Yes No |
| Registered practitioner |  | Registration number |  |
| Level of registration |  | Appropriate level | Yes No |
| Registered contractor |  | Registration level |  |
| Level of registration |  | Appropriate level | Yes No |

Checklist

| Item | Yes | No |  | N/A |  | Comment |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| The description clearly describes the proposed works (Is it clear from the description what is being certified?) |  |  |  |  |  |  |  |  |
| The plans, specification and other documents listed on the CDC match those on record |  |  |  |  |  |  |  |  |
| The scope of works is clear on the plans and specifications being certified (e.g. if there is an existing building and only part of the building is being certified – how has this been made clear?) |  |  |  |  |  |  |  |  |
| The class of building is correct and the process for determining the class has been documented |  |  |  |  |  |  |  |  |
| The correct version of the BCA was applied |  |  |  |  |  |  |  |  |
| Item | Yes |  | No |  | N/A |  | Comment |  |
| Other applicable building standards used have been referenced |  |  |  |  |  |  |  |  |
| Sufficient documentation has been provided to determine compliance applicable building standards for the following: |  |  |  |  |  |  |  |  |
| Wind region |  |  |  |  |  |  |  |  |
| Soil conditions |  |  |  |  |  |  |  |  |
| Part B1 structural provisions |  |  |  |  |  |  |  |  |
| Storm water requirements |  |  |  |  |  |  |  |  |
| Bushfire prone area |  |  |  |  |  |  |  |  |
| Flood areas |  |  |  |  |  |  |  |  |
| Acceptance of alternative solutions |  |  |  |  |  |  |  |  |
| Alternative solutions have been properly documented on the CDC for class 2-9 buildings, and included in reference documentation |  |  |  |  |  |  |  |  |
| Alternative solutions have been sufficiently detailed in the reference documents for class 1 and 10 buildings |  |  |  |  |  |  |  |  |
| The alternative solution was subject to a peer review |  |  |  |  |  |  |  |  |
| Where DFES referral was required (r.18B), the plans and specifications were submitted to the FES Commissioner |  |  |  |  |  |  |  |  |
| Advice given by the FES Commissioner was acted on |  |  |  |  |  |  |  |  |
| Where applicable, a notification was provided to the FES Commissioner outlining why the advice was not acted upon |  |  |  |  |  |  |  |  |
| The plans and specifications specified in the CDC clearly show how the building will comply with each applicable building standard |  |  |  |  |  |  |  |  |

Authorisation

| Building surveyor completing the CDC | Reviewed by |
| --- | --- |
| Name: | Name: |
| Signature: | Signature: |
| Date: | Date: |
| Comments: | Comments: |