## Sheet1
APPENDIX 2: WORKED EXAMPLES OF THE CALCULATION UNDER CLAUSE 4.26.2
Note that all values in the following tables are in MW
Table 1: Both Generators operating as anticipated by the Market (Generator 1 partial FO)
|  | Scheduled Generator 1 | Scheduled Generator 2 | Intermittent Generator | Curtailable Load | Interruptible load | Portfolio Sum
Calculation of SF
| Calculated SF | 0 | 0 | 0 | 0 | 0 | 0
Variables
| RCOQ | 100 | 100 | 0 | 0 | 0 | 200
| RTFO | 40 | 0 | 0 | 0 | 0 | 40
| DSQ | 100 | 100 | 0 | 0 | 0 | 200
| MSQ | 60 | 100 | 0 | 0 | 0 | 160
| CAPA | 100 | 100 | 0 | 0 | 0 | 200
| A | 100 | 100 | 0 | 0 | 0 | 200
| B | 60 | 100 | 0 | 0 | 0 | 160
| C | 60 | 100 | 0 | 0 | 0 | 160
Calculation of CAPA
| CAPA | 100 | 100 | 0 | 0 | 0 | 200
| RCOQ of CL and IL | 0 | 0 | 0 | 0 | 0 | 0
| Net Contract Position less shortfall indicated by resource plan | 100 | 100 | 0 | 0 | 0 | 200
| STEM Offers not scheduled | 0 | 0 | 0 | 0 | 0 | 0
| STEM Bids scheduled | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary services provision | 0 | 0 | 0 | 0 | 0 | 0
| Greater of zero and BSFO - RTFO | 0 | 0 | 0 | 0 | 0 | 0
Yellow shading indicates Market Rules has set a predetermined value for variable, or variable is merely a function of other variables
Table 2: Scheduled Generator 1 operating in the Market with partial FO but Generator 2 not required (Issue 1)
|  | Scheduled Generator 1 | Scheduled Generator 2 | Intermittent Generator | Curtailable Load | Interruptible load | Portfolio Sum
Calculation of SF
| Calculated SF | 0 | 0 | 0 | 0 | 0 | 20
Variables
| RCOQ | 100 | 20 | 0 | 0 | 0 | 120
| RTFO | 40 | 0 | 0 | 0 | 0 | 40
| DSQ | 100 | 0 | 0 | 0 | 0 | 100
| MSQ | 60 | 0 | 0 | 0 | 0 | 60
| CAPA | 100 | 20 | 0 | 0 | 0 | 120
| A | 100 | 20 | 0 | 0 | 0 | 120
| B | 60 | 0 | 0 | 0 | 0 | 80
| C | 60 | 0 | 0 | 0 | 0 | 60
Calculation of CAPA
| CAPA | 100 | 20 | 0 | 0 | 0 | 120
| RCOQ of CL and IL | 0 | 0 | 0 | 0 | 0 | 0
| Net Contract Position less shortfall indicated by resource plan | 100 | 0 | 0 | 0 | 0 | 100
| STEM Offers not scheduled | 0 | 20 | 0 | 0 | 0 | 20
| STEM Bids scheduled | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary services provision | 0 | 0 | 0 | 0 | 0 | 0
| Greater of zero and BSFO - RTFO | 0 | 0 | 0 | 0 | 0 | 0
Yellow shading indicates Market Rules has set a predetermined value for variable, or variable is merely a function of other variables
Table 3: Scheduled Generator on partial Forced outage and Curtailable Loads and Interruptible Loads (Issue 1)
|  | Scheduled Generator 1 | Scheduled Generator 2 | Intermittent Generator | Curtailable Load | Interruptible load | Portfolio Sum
Calculation of SF
| Calculated SF | 0 | 0 | 0 | 0 | 0 | 40
Variables
| RCOQ | 100 | 100 | 0 | 20 | 20 | 240
| RTFO | 0 | 40 | 0 | 0 | 0 | 40
| DSQ | 100 | 100 | 0 | -35 | -40 | 125
| MSQ | 100 | 60 | 0 | -35 | -40 | 85
| CAPA | 100 | 100 | 0 | 20 | 20 | 240
| A | 100 | 100 | 0 | 20 | 20 | 240
| B | 100 | 60 | 0 | -35 | -40 | 125
| C | 100 | 60 | 0 | -35 | -40 | 85
Calculation of CAPA
| CAPA | 100 | 100 | 0 | 20 | 20 | 240
| RCOQ of CL and IL | 0 | 0 | 0 | 20 | 20 | 40
| Net Contract Position less shortfall indicated by resource plan | 100 | 100 | 0 | 0 | 0 | 200
| STEM Offers not scheduled | 0 | 0 | 0 | 0 | 0 | 0
| STEM Bids scheduled | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary services provision | 0 | 0 | 0 | 0 | 0 | 0
| Greater of zero and BSFO - RTFO | 0 | 0 | 0 | 0 | 0 | 0
Yellow shading indicates Market Rules has set a predetermined value for variable, or variable is merely a function of other variables
Table 4: Scheduled Generator 2 failing meeting required capacity being offset partially by Intermittent Generator (Issue 2)
|  | Scheduled Generator 1 | Scheduled Generator 2 | Intermittent Generator | Curtailable Load | Interruptible load | Portfolio Sum
Calculation of SF
| Calculated SF | 0 | 40 | 0 | 0 | 0 | 20
Variables
| RCOQ | 100 | 100 | 0 | 0 | 0 | 200
| RTFO | 0 | 0 | 0 | 0 | 0 | 0
| DSQ | 100 | 100 | 20 | 0 | 0 | 220
| MSQ | 100 | 60 | 20 | 0 | 0 | 180
| CAPA | 100 | 100 | 0 | 0 | 0 | 200
| A | 100 | 100 | 0 | 0 | 0 | 200
| B | 100 | 100 | 0 | 0 | 0 | 200
| C | 100 | 60 | 20 | 0 | 0 | 180
Calculation of CAPA
| CAPA | 100 | 100 | 0 | 0 | 0 | 200
| RCOQ of CL and IL | 0 | 0 | 0 | 0 | 0 | 0
| Net Contract Position less shortfall indicated by resource plan | 100 | 100 | 0 | 0 | 0 | 200
| STEM Offers not scheduled | 0 | 0 | 0 | 0 | 0 | 0
| STEM Bids scheduled | 0 | 0 | 0 | 0 | 0 | 0
| Ancillary services provision | 0 | 0 | 0 | 0 | 0 | 0
| Greater of zero and BSFO - RTFO | 0 | 0 | 0 | 0 | 0 | 0
Yellow shading indicates Market Rules has set a predetermined value for variable, or variable is merely a function of other variables
Note on B12: AMD: Real Time Forced Outage
Note on B27: AMD: BSFO is outage before STEM auction, RTFO is real time outage. This will only be above zero if an outage existed prior to STEM and which was subsequently resolved
Note on B39: AMD: Real Time Forced Outage
Note on B54: AMD: BSFO is outage before STEM auction, RTFO is real time outage. This will only be above zero if an outage existed prior to STEM and which was subsequently resolved
Note on B66: AMD: Real Time Forced Outage
Note on B81: AMD: BSFO is outage before STEM auction, RTFO is real time outage. This will only be above zero if an outage existed prior to STEM and which was subsequently resolved
Note on B93: AMD: Real Time Forced Outage
Note on B108: AMD: BSFO is outage before STEM auction, RTFO is real time outage. This will only be above zero if an outage existed prior to STEM and which was subsequently resolved